1.列表描述源代码

<p>

<span style="font-size: 12px;">Energy saving and environmental protection</span>

</p>

<p>

<span style="font-size: 12px;">Easy installation and maintenance free</span>

</p>

<p>

<span style="font-size: 12px;">The life span is more than 10 years</span>

</p>

<p>

<span style="font-size: 12px;">Intelligent control</span>

</p>

2.详情描述代码

<h5>

Integrated design

</h5>

<p>

Its solar panel,LED lamp, controller, battery are all integrated inside the lamp then it is very easy for the installation.

</p>

<h5>

brightness sensor

</h5>

<p>

In addition, there is a brightness sensor on the lamp. If the brightness is enough, the solar panel can absorb the solar energy for battery charging, while if the brightness is not enough

</p>

<h5>

PWM Intelligent regulation current + time control + light control

</h5>

<p>

What&#39;s more, the lamp can be customized with motion sensor or timecontrol mode. Its brightness standard can beadjusted by movement or time schedule.

</p>

3.详情表格代码

<div class="row">

<div class="col-md-6">

<p>

<strong>Model:</strong><em>won-slsl-a240</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>Color Temperature(K):</strong><em>4000-5000K</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>LED Watt(W):</strong><em>40w</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>Material of light housing:</strong><em>Aluminum alloy</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>LED light source:</strong><em>SMD 3030 30pcs*3</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>Control system:</strong><em>PWM Intelligent regulation current + time control + light control</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>LED Chip Brand:</strong><em>CREE/Bridgelux</em>

</p>

</div>

<div class="col-md-6">

<p>

<strong>Product size:</strong><em>1078*300*43mm</em>

</p>

</div>

</div>

注意点1：先点击编辑框左上角“源代码”按钮

- 将对应模板复制进去

- 只可以修改红色标记的文字内容

- 修改完成后一定要再次点击左上角“源代码”按钮返回

- 点击提交发布保存